| Device Web page producer | Principle of detection | Use as | Stage | Test Time | Limit of Detection | Details |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | toxin | bacteria | virus |  |
|  |  |  |  |  | ng/ml | cfu/ml | pfu/ml |  |
| Array Biosensor www.nrl.navy.mil | immunoassay | PS | C | 10 -15 min | ≥ 0.1 | 103 ~106 | 107 | analyze six samples simultaneously for multiple |
| ArrayTube http://alere-technologies.com/ | ELISA | PS | C | 60 - 90 min |  |  |  |  |
| APDS www.llnl.gov | PCR /cytometry - combined system | ML | P | 30- 60 min |  | ~ 3 x 105 |  | measure up to 100 different agents in a single sample, |
| Analyte 2000 http://www.resrchintl.com | fluorescence | ML | C | ~ 15 min | ≥ 0.1 | 104~107 | 109 |  |
| Alert™ Biodetection www.genprime.com | immunoassay | HHS | C | < 15 min | ~ 400 | 105 - 106 |  |  |
| BAWS http://www.lockheedmartin.com | optical / particle counter - combined system | PS | C |  |  | 25 ACPLA |  | array of point biological aerosol detectors networked ; 2-10m size of particles |
| BADD™ http://www.advnt.org | immunoassay | HHS | C | ~ 1 min | ~ 400 | ~ 8000 |  |  |
| BIDS | flow cytometer/collector - combined system | PS | C |  |  |  |  |  |
| Bio Detector http://www.smithsdetection.com | immuno-ligand assay | PS | C | < 15 min |  |  |  |  |
| BioBriefcase www.llnl.gov | immunoassay/ DNA determination | PS | C |  |  |  |  |  |
| Bio-Hawk http://www.resrchintl.com | bioassay / collector - combined system |  | C | 10- 20 min | 1-10 ppb | 100-100,000 |  | 8-channel bioassay system |
| BioProfiler www.bdal.com | MALDI/TOF mass spectrometry | ML | SW |  |  |  |  | flexible database |
| Bio-Seeq ™ Plus http://www.smithsdetection.com | PCR | PS | C | 50 min |  |  |  | 6 independent simultaneous assays |
| Biosensor 2200R http://www.msafire.com | optical immunosensor | PS | C | < 10 min | < 1 ng | < 10,000 spores |  |  |
| BioThreat Alert www.tetracore.com | immunoassay | HHS | C | < 15 min | ≥ 2.5 | 104~105 |  | Selected type |
| CBMS Block II http://www.ornl.gov | mass spectrometry -combined system | PS | C | BA < 4 min.; CWA < 45 sec. |  | 25 ACPLA |  |  |

| Device Web page producer | Principle of detection | Use as | Stage | Test Time | Limit of Detection | Details |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | toxin | bacteria | virus |  |
|  |  |  |  |  | ng/ml | cfu/ml | pfu/ml |  |
| ENVI Assay system Gold www.environics.fi | immunoassay | HHS | C | 15 min | ≥ 5 |  |  | Selected type |
| ENVI Assay system FL www.environics.fi | immunoassay | HHS | C | 15 min | ≥ 5 ng in the swab | 4000 spores in the swab |  | Selected type |
| FLAPS http://www.tsi.com | fluorescence / particle sizer | PS | C |  |  | ≥ 12 ACPLA |  | particles from 0.5-15m fluorescence 430-580 nm |
| GeneXpert System http://www.cepheid.com | PCR | ML | C | 30 min |  | 33 |  |  |
| HANAA www.llnl.gov | RT-PCR | PS |  | 30 min |  |  |  |  |
| IBAD | immunoassay/ particular counter - combined system | PS | C | 15 min detection 30 min identification |  |  |  |  |
| LightCycler ™ www.roche.com | PCR | ML |  | 30 min |  | < 1 cfu | < 1 pfu | Bacteria, Virus (dependant on primer/probe design) |
| MAB www.proengin.com | Flame Spectrophotometry | PS | C | 1 min |  | 0.001 |  |  |
| Mikrocyte Field www.biodetect.biz | cytometry | PS | C |  |  |  |  | particles 0.4 - 15 μm, 10 particles per ml. |
| R.A.P.I.D. http://www.idahotech.com | RT-PCR | PS | C | < 60 min |  | 1 DNA copy or 1 organism | 1 DNA copy or 1 organism |  |
| RAPTOR www.resrchintl.com | immunoassay/ fluorescence | ML | C | 15 min | 0.1 - 1.0 | 104 - 105 | 105 -107 |  |
| RAMP www.responsebio.com | Immunoassay | HHS | C | 15 min | <10μg | 4000 spores |  | Selected type |
| RAZOR http://www.idahotech.com | PCR | PS | C | < 30 min |  | ~200 | ~2000 |  |
| Redline Alert www.tetracore.com | immunoassay | HHS | C | 15 min |  |  |  |  |
| SMART ® www.nhdiag.com | immunoassay | HHS | C | 15 - 30 min | ~50 | ~105 |  | Selected type |

| Device Web page producer | Principle of detection | Use as | Stage | Test Time | Limit of Detection | Details |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | toxin | bacteria | virus |  |
|  |  |  |  |  | ng/ml | cfu/ml | pfu/ml |  |
| Smart Bio Sensor http://www.smithsdetection.com | fluorescence | PS | C | < 15 min | ~50 | < 5 000 cells < 500 spores | 5x103 virons |  |
| SR-Biospectra www.ino.ca | laser-induced fluorescence | PS | P |  |  | 40 ACPLA |  |  |
| 4 WARN CB system www.gdcanada.com | fluorescence/ optical - combined system | PS | C | < 60 minutes |  | 20 ACPLA |  |  |

Table 1: Comparision of principle of detection, limit of detectinon, application for each measuring systems and equipments.

Abbreviation use in the table: Column - Use as: HHS – hand-held system, PS - portable system, ML – mobile lab; Column -  Stage: C – commercial available,  P -  prototype, SW -  software tools; Columns - Limit of Detection: cfu/ml - (colony forming units/ml); pfu/ml - (platform forming units/ml); ACPLA - Agent Containing Particles per Liter of Air

| Device Web page producer | Toxins | Bacteria |
| --- | --- | --- |
|  | ng/ml | cfu/ml |
|  | SEB | ricin | botulintoxin | Bacillus anthracis | Bacillus globigii | Brucellosis | E. coli | Francisella tularensis | Yersinia pestis |
| Array Biosensor | 0.1 - 1 | 8 | 20 - 50 | 7 × 104 | 105 | 3 × 103 | 5 × 103 | 105 | 25 ng/ml |
| Analyte 2000 | 0.1 - 0.5 | 1 |  |  | 2.5 x 104 | 7 x 104 | 5 x 104 | 5 x 104 | 0.001 μg/mL |
| Alert™ Biodetection |  | 50 ng/test | 50 ng/test |  |  |  |  |  |  |
| BADD™ |  | < 50 ng | < 50 ng | 1ng |  |  |  |  |  |
| Bioagent test kit | 10 | 200 | 50 | 50ng/ml |  |  |  |  | 1 μg/ml |
| BioThreat Alert | 2.5 | 50 | 10 | 105 |  | 1 -2 g/ml |  | 7 x 104 | 105 |
| Defender TSR www.alexeter.com | 12 | 5 | 20 | 105 |  | 105 | 105 |  | 105 |
| ENVI Assay system Gold | 13,1 | 5 | 10 |  |  |  |  |  |  |
| ENVI Assay system FL |  | 10 ng in the swab | 5 ng in the swab | 4000 spores in the swab |  |  |  |  |  |
| Guardian ReaderTM | 2.5 | 50 | 10 | 105 |  |  |  | 7 x 104 | 105 |
| M1 Series(analyzer) www.bioveris.com | 0.01 | 10 | 0.01 -0,1 | 103 -104 spores/veg/ml |  |  | 5 x103 | 5 x103 |  |
| ORIGEN 1.5 Analyzer | 0.01 | 10 | 0.01 -0,1 | 103 -104 spores/veg/ml |  |  | 5 x103 | 5 x103 |  |
| RAPTOR | 0.1 - 0.5 | 0.5 - 10 | 1 | 5 x 104 |  | 7 x 104 | 102 -103 | 5 x 104 | 0.001 μg/mL |
| RAMP |  | 100 ng | 20 ng | 4x103 spores |  |  |  |  |  |
| RRHHA |  | <12 | <25 | <103 |  | <5 x 106 |  | <5 x 107 | <104 |
| SMART ® | <50 | 50 | 50 | 105 |  |  | 105 | 105 | 104 |

Table 2: Comparision of limit of detection for selected measuring systems for specific toxins and bacteria.

Abbreviation use in the table: SEB - Staphylococcus enterotoxin B; E. coli - Escherichia coli